| BioFac Water Sampling |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | cond cal( ) | cond -> cal -> 1413 -> 12.9 -> CAL DONE |  |  |  |  |  |  |  |
|  | pH cal ( ) | pH -> cal -> 4 -> 7 -> 10 -> CAL DONE |  |  |  |  |  |  |  |
|  | DO cal ( ) | RDO -> cal -> air -> DONE |  |  |  |  |  |  |  |
| Tank: Channel -> 3 probe view -> measure -> wait for pH to stabilize (AR stop blinking) |  |  |  |  |  |  |  |  |  |
| When AR stops blinking, instantly record temp & time, then all other parameters when "ready" |  |  |  |  |  |  |  |  |  |
| mV is on pH screen, use mode to switch between cond and salt |  |  |  |  |  |  |  |  |  |
| tank | temp | time | pH | mV | salt_psu | cond | RDO_mgL | mL_30s | notes |
| 1 |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |
| S1 |  |  |  |  |  |  |  |  |  |
| S2 |  |  |  |  |  |  |  |  |  |
| S3 |  |  |  |  |  |  |  |  |  |
| S4 |  |  |  |  |  |  |  |  |  |
| S5 |  |  |  |  |  |  |  |  |  |
| S6 |  |  |  |  |  |  |  |  |  |

| BioFac Water Sampling |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | cond cal( ) | cond -> cal -> 1413 -> 12.9 -> CAL DONE |  |  |  |  |  |  |  |
|  | pH cal ( ) | pH -> cal -> 4 -> 7 -> 10 -> CAL DONE |  |  |  |  |  |  |  |
|  | DO cal ( ) | RDO -> cal -> air -> DONE |  |  |  |  |  |  |  |
| Tank: Channel -> 3 probe view -> measure -> wait for pH to stabilize (AR stop blinking) |  |  |  |  |  |  |  |  |  |
| When AR stops blinking, instantly record temp & time, then all other parameters when "ready" |  |  |  |  |  |  |  |  |  |
| mV is on pH screen, use mode to switch between cond and salt |  |  |  |  |  |  |  |  |  |
| tank | temp | time | pH | mV | salt_psu | cond | RDO_mgL | mL_30s | notes |
| 1 |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |
| S1 |  |  |  |  |  |  |  |  |  |
| S2 |  |  |  |  |  |  |  |  |  |
| S3 |  |  |  |  |  |  |  |  |  |
| S4 |  |  |  |  |  |  |  |  |  |
| S5 |  |  |  |  |  |  |  |  |  |
| S6 |  |  |  |  |  |  |  |  |  |