## Sheet1
BioFac Water Sampling
Date | cond cal( ) | cond -> cal -> 1413 -> 12.9 -> CAL DONE
| pH cal ( ) | pH -> cal -> 4 -> 7 -> 10 -> CAL DONE
| DO cal ( ) | RDO -> cal -> air -> DONE
Tank: Channel -> 3 probe view -> measure -> wait for pH to stabilize (AR stop blinking)
When AR stops blinking, instantly record temp & time, then all other parameters when "ready"
mV is on pH screen, use mode to switch between cond and salt
tank | temp | time | pH | mV | salt_psu | cond | RDO_mgL | mL_30s | notes
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
S1
S2
S3
S4
S5
S6